# Purchasing Guide for the WAV Baseline Stream Monitoring Kit

Updated: January 2026
Questions or suggestions? Contact us at wav@extension.wisc.edu.

Quick tips:

- Many items have a cheaper cost per unit if they are bought in bulk.

- Some of larger or specialty items may be temporarily out of stock or have price fluctuations and discounts at different times of year.

- Organizations with a larger budget may invest in a multi-parameter handheld optical meter, such as those sold by YSI or Hanna.

| # Parameter | # Item | # Cost per unit | # Example suppliers |
| --- | --- | --- | --- |
| Water temperature | Thermometer - Units in Celsius - 1 degree increments or finer - Metal/plastic case to prevent glass breaking in the stream | $10 - $32 | Forestry Suppliers (#77141) Cabela’s (#36126000) |
| Transparency | Transparency (Turbidity) Tube - 120cm length | $65 - $118 | Forestry Suppliers (#531557) School Specialty (#77292) |
| Dissolved oxygen | Hach Dissolved Oxygen Test Kit Model OX-2P - Kit comes with chemicals for 100 tests - Does not come with Starch indicator solution | $151 | Hach (#146900) |
| Dissolved oxygen | Starch Indicator Solution - 1 liter bulk bottle. Purchase small plastic dropper bottles to distribute across multiple Hach kits. | $32 | Hach (#34953) |
| Dissolved oxygen | Safety Glasses or Goggles | $1.27 | Many options – prices vary |
| Streamflow | Measuring Tape Reel | $18 - $26 | Forestry Suppliers (#39968) Grainger (#3LJU4) |
| Streamflow | Calculator (or use phone) | $0 - $3 | Many options – prices vary |
| Streamflow | Stopwatch (or use phone) | $0 - $3 | Many options – prices vary |
| Streamflow | Tennis ball | $0.35 | Many options – prices vary |
| Streamflow | Wire Marking Flags | $0.13 | Many options – prices vary |
| Streamflow and Biotic Index | D-frame Aquatic Net - Minimum 500 micron mesh to trap small bugs - Wood or aluminum handle. Write depth measurements (10ths of feet) on the handle with a sharpie. | $124 - $206 | Forestry Suppliers (#53770, #53788) Fisher Scientific (#S85027) |
| Biotic Index | White Basin and Ice Cube Tray | $3.00 | Many options – prices vary |
| Biotic Index | Handheld Magnifying Glass | $1.75 | Forestry Suppliers (#61233) |
| Biotic Index | Plastic Spoons, Pipettes, and Tweezers | $2.00 | Many options – prices vary |
| General | Backpack - A 17 inch size or larger will hold all kit items. - Recommend a clear plastic backpack | $6 - $20 | Many options – prices vary |
| General | Boot brush - Horse hoof picks are used to clean boots and waders to prevent the spread of aquatic invasive species. | Free | Contact WAV staff |
| Total Kit | Does not include taxes or shipping | $415 - $600 |  |

Water quality monitoring suppliers include but are not limited to:

- Fisher Scientific

- Fondriest Environmental

- Forestry Suppliers

- Grainger

- Hach Company

- School Specialty

- Ward’s Science